| FACULTY: | Faculty of Mechanical Engineering Department of Biomedical Engineering |
| --- | --- |
| FIELD OF STUDY: | Biomedical Engineering |
| ERASMUS COORDINATOR OF THE FACULTY: | Igor Maciejewski, DSc, PhD |
| E-MAIL ADDRESS OF THE COORDINATOR: | igor.maciejewski@tu.koszalin.pl |
| COURSE TITLE: | Electronic medical equipment |
| LECTURER’S NAME: | Przemysław Ceynowa |
| E-MAIL ADDRESS OF THE LECTURER: | przemyslaw.ceynowa@gmail.com |
| ECTS POINTS FOR THE COURSE: | 5 |
| ACADEMIC YEAR: | 2020/2021 |
| SEMESTER: (W – winter, S – summer) | W |
| HOURS IN SEMESTER: | 45 |
| LEVEL OF THE COURSE: (1st cycle, 2nd cycle, 3rd cycle) | 1st cycle |
| TEACHING METHOD: (lecture, laboratory, group tutorials, seminar, other-what type?) | Lectures and Classes (30h+15h) |
| LANGUAGE OF INSTRUCTION: | English |
| ASSESSMENT METOD: (written exam, oral exam, class test, written reports, project work, presentation, continuous assessment, other – what type?) | exam (written or oral) |
| COURSE CONTENT: | - Division and characteristics of therapeutic and diagnostic medical apparatus. - Human as a source of biological signals. Methods of receiving biological signals from a human. Characteristics and methods of receiving selected bioelectric signals. - Biological object system model - bioelectric signal amplifier. - The heart as a source of electrical signal in a volumetric conductor. Electrocardiograph, principle of construction and operation. - Electromyography, EMG signal characteristics, electrodes and microelectrodes for recording EMG signals, examples of solutions. - The use of spectral methods to calculate the degree of blood oxygenation. Detectors and radiation sources for pulse sensors, construction of pulse meter and pulse oximeter. - The use of ultrasound for imaging of internal structures. - The use of ultrasound to detect and visualize flows. Description and application of the Doppler phenomenon. - The use of x-rays in medical imaging. Computed tomography systems. - The phenomenon of atomic magnetic resonance imaging, components of the MRI system. - External defibrillators. - Low and high frequency current therapy. - Digital ECG signal processing. |
| ADDITIONAL INFORMATION: | Knowledge of physics, mathematics and biology in the basic scope of upper secondary school. |